## Slide 1
      PG&E
      Distribution Demand Charges and Options
      Dan Pease and Jan Grygier
SDG&E GRC Phase II Demand Charge Workshop
August 27, 2019

## Slide 2
Distribution Capacity Cost and Rate Design
      Distribution capacity costs are derived on a $/kW basis where the distribution system must be sized to meet demand. Accordingly, rates that are well aligned with costs recover these capacity costs on a $/kW basis.
      Rate design is dictated by each utility’s cost of service
      At PG&E, a portion of capacity costs are peak-related and a portion are based on load that is non-coincident, which allows rates for a portion of distribution capacity costs to be time differentiated.
      PG&E’s fully cost based rates for distribution capacity consist of peak demand charges and non-coincident demand charges (e.g. E-19/20).
      - Non-coincident demand charges are applied to the peak demand in the month.
      - Coincident demand charges are typically applied to the peak demand in the peak and part-peak TOU periods, where rates are higher in the peak period.

## Slide 3
Alternatives to Traditional Demand Charges (1)
      The Commission has approved a number of alternative ways to collect distribution capacity cost.
      For Option R, TOU demand charges were converted to TOU energy rates for customers with solar.
      2017 GRC Phase II resulted in several alternative designs for customers with storage:
      Medium and Large C&I Option S for Storage: Distribution demand charges fully converted to alternative charges.
      - TOU daily demand charges (applicable in peak and part peak periods)
      - Special non-coincident demand charge; applies all hours except 9 am to 2 pm.
      - Approved subject to participation caps.
        - Requires future study to account for cost shifts, impact on GHG emissions as well as avoided payments for embedded cost.

## Slide 4
Alternatives to Traditional Demand Charges (2)
      2017 GRC Phase II (cont)
      Small Commercial Schedule A1-Store, for customers with storage, includes a non-coincident demand charge that is applied only during the hours of 2 pm to 11 pm (peak and partial peak periods). Participation capped.
      Residential Schedule EV2, adapted for storage, distribution capacity costs recovered in energy rates. Participation capped.
      PG&E has proposed EV charging rates for C&I customers:
        Subscription charge that recovers >80% of distribution cost.
      Small relative to maximum demand charge $2-4/ kW.
      Separately designed for large and small customers.
      Generally applied based on connected load.
      Other designs:
      Ex-post demand charges based on top 5-20 hours of system load.
      Demand charges applied over an average of the highest demand hours in a month rather than the single highest demand in a month.

## Slide 5
Considerations for Design Alternatives
      Changes to demand charge structures should be carefully considered, changes may be optional or mandatory:
      Optional rates, as are generally available today, present the problem of revenue shortfall from benefitting customers (self selection).
      - Revenue shortfall that is not commensurate with cost reduction results in subsidies that must be supported by other customers.
      - If revenue reductions exceed cost reductions, the Commission should consider what level of subsidy is appropriate in exchange for the benefits all customers receive (e.g., reductions of GHGs).
      - Subsidies may be retained within the class or be supported by all customers.
      If mandatory (applied to all customers) customer understanding and acceptance will be of concern.
      Response of load to various design alternatives (and thus, impact on grid and GHGs) may be counter-intuitive.
      - New alternatives should be capped, or approved as pilots, to limit potential unintended consequences.