## Conforming Plan rqmts
LSE Name | Southern California Edison |  | Assessment Key
|  |  | exemplary | exceeds requirements and could set future standard for IRP best practices
|  |  | adequate | satisfies requirements
|  |  | deficient | fails to satisfy requirements and requires amendment/clarification
Standard LSE Plan requirements |  | Questions to guide review ("Did the LSE…") | Assessment | Rationale and next steps (for 'exemplary' or 'deficient' scores only)
3. Study Results | b. Preferred Conforming Portfolios | … describe its two Preferred Conforming Portfolios, explain the reasons for its preference and how its Preferred Plan is consistent with each relevant statutory and administrative requirement? If the LSE chose a portfolio that achieved less than its 25 MMT benchmark, did it adequately explain whether and how that portfolio might operate differently, from a reliability perspective, depending on whether other LSEs procure in a manner consistent with a 30 MMT or 25 MMT target? If the LSE’s preferred confirming portfolios include new natural gas resources or re-contracting with existing natural gas resources for a term of five years or more, did the LSE describe why another lower-emitting or zero-emitting resource could not reasonably meet the need identified? | adequate
| d.i) Local Air Pollutants | .. report CSP results for Nox, SO2, and PM2.5 from Preferred Conforming Portfolios? | exemplary | Exemplary - LSE provided more data and detail than most LSEs, and also raised relevant issues.
| d.ii) Focus on Disadvantaged Communities | … describe (with supporting analysis) how its Preferred Conforming Portfolios minimize localized air pollutants with early priority on DACs? Did the LSE use information from CalEnviroScreen 4.0 correctly? Did the LSE (1) describe which DACs it serves, (2) specify customers served in DACs along with total disadvantaged population number served as a percentage of total number of customers served, and (3) describe and provide specific details of outreach to DACs undertaken prior to finalizing and submitting its IRP, summarize the feedback received from DACs and their representatives, and describe how such feedback influenced development of the LSE’s Preferred Conforming Portfolios? | exemplary | Exemplary - LSE gave a detailed response and included descriptions of numerous programs.
| e.i) Cost and Rate Analysis (IOUs) | (for IOUs) … provide data showing the forecasted revenue requirement and system average rate for bundled customers for all portfolios, with costs forecasted consistently with the GRC categories? Revenue requirements categories include: • Transmission • Distribution (includes costs from dx upgrades driven by customer-generation) • DSM Programs (e.g. includes costs of EE, DR, etc.) • Generation (e.g. includes costs of utility-owned generation, bilateral contracts, renewables contracts, and storage contracts, net of revenue from EDU allowances) • Other (e.g. includes nuclear decommissioning, DWR bonds, public purpose programs, and other miscellaneous) Did the IOU distinguish between current (baseline) projected revenue requirement and the incremental projected revenue requirement for each new resource portfolio? Did the IOU correctly fill out the required tables? | adequate
| e.ii) Cost and Rate Analysis (non-IOUs) | (for non-IOUs) … provide a narrative description of their approach in considering cost and rate impacts on their customers? |  | N/A
4. Action Plan | a. Proposed Procurement Activities and Potential Barriers | … describe all the activities it will undertake across resource types in order to achieve its Preferred Conofrming Portfolios, including any proposed procurement-related activities as required by Commission decision, and how each planned resource identified in the Study Results section corresponds to proposed activities? For each new resource, did LSE provide a narrative description of procurement plans, as well as potential market, regulatory, financial, and other resource viability barriers or risks associated with the LSE’s Preferred Conforming Portfolios, consistent with what is reported in the Resource Data Template? | exemplary | Exemplary - LSE provided a thorough response with more detail than most other LSEs.
| b. Disadvantaged Communities | … describe and provide specific details on any current and planned LSE activities/programs to address DACs, including those located within the geographic area served by the LSE and beyond, and describe how the LSE’s actions and engagement have changed over time? Did the LSE describe or address any analysis or activities targeted at minimizing criteria air pollutants in DACs and identify feasible procurement opportunities to reduce reliance on fossil-fueled power plants, particularly those that are located within DACs, inclduing specific metrics and scoring criteria that the LSE uses to prioritize the minimization of criteria air pollution in DACs, how those metrics and scoring criteria have been used in past procurement, and how those metrics and scoring criteria will be applied to planned procurement? Did the LSE provide specific details on current and planned activities to conduct outreach and seek input from any DACs, including those located within the geographic area served by the LSE and beyond, that could be impacted by procurement resulting from the implementation of the LSE’s Plan procurement? If the LSE is not conducting targeted outreach directed toward DACs, did the LSE explain why and discuss its plans for conducting such outreach in the future? | exemplary | Exemplary - LSE addressed all questions thoroughly and provided significant detail.

## LSE Names
3 Phases Renewables | 3PR
Apple Valley Choice Energy | AVCE
Bear Valley Electric Service | BVES
Calpine Energy Solutions | NES
Calpine PowerAmerica | CPA
Central Coast Community Energy | CCCE
City of Palmdale | PALMDALE
City of Pamona | POMONA
Clean Energy Alliance | CEA
Clean Power Alliance | CPASC
CleanPowerSF | CPSF
Commercial Energy of California | CES
Constellation New Energy | CNE
Desert Community Energy | DCE
Direct Energy Business | DEB
East Bay Community Energy | EBCE
EDF Industrial Power Services | EIPS
King City Community Power | KCCP
Lancaster Choice Energy | LCE
Liberty Utilities | LIB
Marin Clean Energy | MCE
Orange County Power Authority | OCPA
Pacific Gas and Electric | PGE
PacifiCorp | PCORP
Peninsula Clean Energy Authority | PCEA
Pico Rivera Innovative Municipal Energy | PRIME
Pilot Power Group | PPG
Pioneer Community Energy | PIONEER
Rancho Mirage Energy Authority | RMEA
Redwood Coast Energy Authority | RCEA
San Diego Community Power | SDCP
San Diego Gas & Electric Company | SDGE
San Jacinto Power | SJP
San José Clean Energy | SJCE
Santa Barbara Clean Energy | SBCE
Shell Energy North America | SENA
Silicon Valley Clean Energy | SVCE
Sonoma Clean Power | SOMA
Southern California Edison | SCE
The Regents of the University of California | UCOP
Valley Clean Energy Alliance | VCEA