- The Maintenance Plan Summary shall consist of two Parts:

- Part 1

A Brief Unit Plan that describes the plan using a narrative format.  For the Unit Plan, it should include the following content elements (generally including at least a short section for each content element):

- Planned life of the plant

- Role of the plant in the transmission system (e.g., base load, peaker, etc.)

- Seasonal or year-round operation

- Used regularly every year, or only in years of high demand or low supply

- The level of availability the GAO intends for the plant

- Current evaluation of plant condition

- Investment strategy the GAO plans for the plant

  - Design or operating issues that can be addressed economically

  - Design or operating issues that can not be addressed economically (with explanation)

The Unit Plan should be a narrative, with at least a substantial paragraph for each content element and section.  Where documents exist that explain the GAO’s plans for the plant, in detail, reference those documents by name and document number.

- Part 2

This portion of the Maintenance Plan Summary should include a listing and description, for each standard (not for each guideline) of the plant documents that show compliance with that standard.  An example is shown in Attachment A.

An updated Maintenance Matrix (like the one we required for filing two years ago) can substitute for Part 2, provided that you include a brief description of each of the documents referenced in the matrix.

Big Bend Power Plant

We comply with Maintenance Standard No. 6: Training Support.

The objective of this program is to develop selected personnel into knowledgeable, competent, and otherwise qualified Plant Equipment maintenance personnel in the most thorough and expeditious manner possible, using resources available in the Company.

Our training documents contain the basic procedures to be implemented in the training of maintenance personnel and establish standards for the qualification of such personnel for upgrade and promotion.

Maintenance training and qualification requirements are divided into 3 general categories as follows:

A.	Apprentice Plant Equipment and Maintenance Assistant Training and Qualification Programs

B.	Station Maintenance Training and Qualification

- General Maintenance Training Requirements

Big Bend Power Plant

Maintenance Standard No. 6: Training Support.

The following table is a list of the most applicable documents that address Maintenance Standard No. 6.

| Document No. | Document Title | Latest Revision Date | Brief Description |
| --- | --- | --- | --- |
| XX-1 | Generating Station Engineer Training | 9-9-05 | This is a company issued manual that describes…and…includes……it is located in the company’s electronic files…etc. |
| XX-2 | Qualifications of Maintenance Personnel | 9-9-05 | This is a company issued manual that describes…and…includes forms…….etc. |
| XX-3 | Qualifying Personnel to Operate Mobile Equipment | 9-9-05 | This is a company issued video that describes…and…includes electronic videos of how to……etc |
| XX-4 | Contractor Training and Qualifications | 9-9-05 | This is an OEM issued manual that describes……..etc |
| XX-5 | Safety Training Manual | 9-9-05 | This is a company issued manual and is supplemented by OSHA referenced documents……etc. |