## Information
Avoided Water Capacity Cost Model
DRAFT: Version 1.0
Released October 7, 2014
Tool Overview
This tool was developed for the California Public Utilities Commission by Navigant. It is meant to help users estimate the avoided water capacity cost. This tool is used to feed inputs to the Water-Energy Calculator. The tool allows users to select different marginal technologies for each region, edit cost inputs, and edit financial assumptions. Additional information regarding methodology and data sources can be found in the accompanying report.
Uses and Limitations
Outputs are estimates based on observed data from California. This tool may not be representative for other states. The results of this model feed into the Water-Energy Calculator and are used to assess the cost effectiveness of water conservation measures.
Instructions
1. Proceed to the "Selection" tab. 2. Select marginal technologies, view summary results on "Selection" Tab 3. View time series results on "Output" tab
Legend
Tab Colors
User Guidance and Inputs
Model Outputs
Internal Calculations
Data and Default Assumptions
Reference Material
Cell Formatting
|  | Value | Source Data and Default Assumptions
|  | Value | Calculated Values
User Input or Override
|  | Text | Link to Another Tab

## Selection
Avoided Water Capacity Cost Calculator
Summary Output and Input Selection
Summary Output
|  | Water Supply | Potable Treatment | Wastewater Treatment
| Annual Avoided Capacity Cost ($M/MGD) | 0.30936 | 0.016565 | 2.1513
| PV-Total Capacity Cost ($M) | 5.6869 | 0.3113 | 31.8564
Input Selection
Select Hydrologic Region
North Coast
|  | Water Supply | Potable Treatment | Wastewater Treatment
| Water System Component Costs | Recycled - Tertiary + Disinfection | Chlorine Disinfection | Wastewater Treatment
| Capital Cost per Unit ($M/MGD) | 3.1914 | 0.058658 | 17.98
| Marginal Fixed O&M Cost per Unit ($M/MGD) | 0.087605 | 0.0084497 | 0.7
Financial Assumptions
| Ownership Entity Type | Municipality | Municipality | Municipality
| Inflation Rate | 3% | 3% | 3%
| Working Capital | 0% | 0% | 0%
Depreciation Life
| Straight Line | 40 | 40 | 24
| MACRS | 20 | 10 | 15
Capital Costs
| Year to Capital Outlay | 0 | 0 | 0
| Cost of Equity | 0% | 0% | 0%
| Percentage of Cap Structure - Equity | 0% | 0% | 0%
| Cost of Debt | 4.507% | 4.507% | 4.507%
| Percentage of Cap Structure - Debt | 100% | 100% | 100%
| Debt Amortization Period | 40 | 40 | 24
Tax Inputs
| Federal Income Tax Rate | 0% | 0% | 0%
| State Income Tax Rate | 0% | 0% | 0%
| Composite Tax Rate | 0% | 0% | 0%
| Value Added Tax Rate | 0% | 0% | 0%
| Payments In Lieu of Taxes (PILOTs) | 5% | 5% | 5%
| Property Tax Rate | 0% | 0% | 0%
| Basis for Property Tax Rate | Depreciated Cost | Depreciated Cost | Depreciated Cost
Note on B26: Years until new capacity is needed. Used to simulate a "resource balance year".

## Output
Avoided Capacity Cost Calculator
Detailed Output ($M/MGD capacity per year)
Detailed Output - Annual Avoided Cost
| Technology | Recycled - Tertiary + Disinfection | Chlorine Disinfection | Wastewater Treatment
| Year | Water Supply | Potable Treatment | Wastewater Treatment
| 2015 | 0.30936 | 0.016565 | 2.1513
| 2016 | 0.30936 | 0.016565 | 2.1513
| 2017 | 0.30936 | 0.016565 | 2.1513
| 2018 | 0.30936 | 0.016565 | 2.1513
| 2019 | 0.30936 | 0.016565 | 2.1513
| 2020 | 0.30936 | 0.016565 | 2.1513
| 2021 | 0.30936 | 0.016565 | 2.1513
| 2022 | 0.30936 | 0.016565 | 2.1513
| 2023 | 0.30936 | 0.016565 | 2.1513
| 2024 | 0.30936 | 0.016565 | 2.1513
| 2025 | 0.30936 | 0.016565 | 2.1513
| 2026 | 0.30936 | 0.016565 | 2.1513
| 2027 | 0.30936 | 0.016565 | 2.1513
| 2028 | 0.30936 | 0.016565 | 2.1513
| 2029 | 0.30936 | 0.016565 | 2.1513
| 2030 | 0.30936 | 0.016565 | 2.1513
| 2031 | 0.30936 | 0.016565 | 2.1513
| 2032 | 0.30936 | 0.016565 | 2.1513
| 2033 | 0.30936 | 0.016565 | 2.1513
| 2034 | 0.30936 | 0.016565 | 2.1513
| 2035 | 0.30936 | 0.016565 | 2.1513
| 2036 | 0.30936 | 0.016565 | 2.1513
| 2037 | 0.30936 | 0.016565 | 2.1513
| 2038 | 0.30936 | 0.016565 | 2.1513
| 2039 | 0.30936 | 0.016565 | 2.1513
| 2040 | 0.30936 | 0.016565 | 2.1513
| 2041 | 0.30936 | 0.016565 | 2.1513
| 2042 | 0.30936 | 0.016565 | 2.1513
| 2043 | 0.30936 | 0.016565 | 2.1513
| 2044 | 0.30936 | 0.016565 | 2.1513
| 2045 | 0.30936 | 0.016565 | 2.1513
| 2046 | 0.30936 | 0.016565 | 2.1513
| 2047 | 0.30936 | 0.016565 | 2.1513
| 2048 | 0.30936 | 0.016565 | 2.1513
| 2049 | 0.30936 | 0.016565 | 2.1513
| 2050 | 0.30936 | 0.016565 | 2.1513

## Cost_Input
| Ocean Desalination |  | Brackish Desalination |  | Recycled - Tertiary + Disinfection |  | Recycled - Membrane Treatment |  | Groundwater Facility |  | User Defined
Region | Ocean Water Desalination Plant Costs ($M/MGD) |  | Brackish Water Desalination Plant Costs ($M/MGD) |  | Recycled Water Plant Costs – Tertiary Plus Disinfection ($M/MGD) |  | Recycled Water Plant Costs – Membrane Treatment ($M/MGD) |  | Groundwater Facility Costs ($M/MGD) |  | User Defined Facility Costs ($M/MGD) |  | Chlorine Disinfection Costs ($M/MGD) |  | Contaminant Removal Plus Disinfection Plant Costs ($M/MGD) |  | User Defined Facility Costs ($M/MGD) |  | Wastewater Treatment Plant Costs ($M/MGD) |  | User Defined Facility Costs ($M/MGD)
Water Supply - Default Input Recommendations | [12 empty] | Potable Treatment | [5 empty] | Wastewater Treatment
| Capital | Fixed O&M | Capital | Fixed O&M | Capital | Fixed O&M | Capital | Fixed O&M | Capital | Fixed O&M | Capital | Fixed O&M | Capital | Fixed O&M | Capital | Fixed O&M | Capital | Fixed O&M | Capital | Fixed O&M | Capital | Fixed O&M
North Coast | 33.3784 | 0.78635 | 6.4483 | 0.48286 | 3.1914 | 0.087605 | 7.1487 | 0.27358 | 3.2474 | 0.0084497 | <input> | <input> | 0.058658 | 0.0084497 | 4.2287 | 0.055903 | <input> | <input> | 17.98 | 0.7 | <input> | <input>
San Francisco Bay | 33.3784 | 0.78635 | 5.7706 | 0.46719 | 3.1914 | 0.087605 | 7.1487 | 0.27358 | 3.2474 | 0.0084497 | <input> | <input> | 0.058658 | 0.0084497 | 4.2287 | 0.055903 | <input> | <input> | 17.98 | 0.7 | <input> | <input>
Central Coast | 33.3784 | 0.78635 | 6.4483 | 0.48286 | 3.1914 | 0.087605 | 7.1487 | 0.27358 | 3.2474 | 0.0084497 | <input> | <input> | 0.058658 | 0.0084497 | 4.2287 | 0.055903 | <input> | <input> | 17.98 | 0.7 | <input> | <input>
South Coast | 16.2262 | 0.41721 | 6.4483 | 0.48286 | 3.1914 | 0.087605 | 7.1487 | 0.27358 | 3.2474 | 0.0084497 | <input> | <input> | 0.058658 | 0.0084497 | 4.2287 | 0.055903 | <input> | <input> | 17.98 | 0.7 | <input> | <input>
Sacramento River |  |  | 6.4483 | 0.48286 | 3.1914 | 0.087605 | 7.1487 | 0.27358 | 3.2474 | 0.0084497 | <input> | <input> | 0.058658 | 0.0084497 | 4.2287 | 0.055903 | <input> | <input> | 17.98 | 0.7 | <input> | <input>
San Joaquin River |  |  | 6.4483 | 0.48286 | 3.1914 | 0.087605 | 7.1487 | 0.27358 | 3.2474 | 0.0084497 | <input> | <input> | 0.058658 | 0.0084497 | 4.2287 | 0.055903 | <input> | <input> | 17.98 | 0.7 | <input> | <input>
Tulare Lake |  |  | 6.4483 | 0.48286 | 3.1914 | 0.087605 | 7.1487 | 0.27358 | 3.2474 | 0.0084497 | <input> | <input> | 0.058658 | 0.0084497 | 4.2287 | 0.055903 | <input> | <input> | 17.98 | 0.7 | <input> | <input>
North Lahontan |  |  | 6.4483 | 0.48286 | 3.1914 | 0.087605 | 7.1487 | 0.27358 | 3.2474 | 0.0084497 | <input> | <input> | 0.058658 | 0.0084497 | 4.2287 | 0.055903 | <input> | <input> | 17.98 | 0.7 | <input> | <input>
South Lahontan |  |  | 6.4483 | 0.48286 | 3.1914 | 0.087605 | 7.1487 | 0.27358 | 3.2474 | 0.0084497 | <input> | <input> | 0.058658 | 0.0084497 | 4.2287 | 0.055903 | <input> | <input> | 17.98 | 0.7 | <input> | <input>
Colorado River |  |  | 6.4483 | 0.48286 | 3.1914 | 0.087605 | 7.1487 | 0.27358 | 3.2474 | 0.0084497 | <input> | <input> | 0.058658 | 0.0084497 | 4.2287 | 0.055903 | <input> | <input> | 17.98 | 0.7 | <input> | <input>
User Defined Region 1 | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input>
User Defined Region 2 | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input>
User Defined Region 3 | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input> | <input>
Source: Navigant team Research. See accompanying final report | [12 empty] | Chlorine Disinfection |  | Contaminant Removal & Disinfection |  | User Defined |  | Wastewater Treatment |  | User Defined

## Financial_Input
| Water Supply |  |  | Potable Treatment |  |  | Wastewater Treatment
| IOU | Municipality | User Defined | IOU | Municipality | User Defined | IOU | Municipality | User Defined
Inflation Rate | 3% | 3% | <input> | 3% | 3% | <input> | 3% | 3% | <input>
Working Capital | 0% | 0% | <input> | 0% | 0% | <input> | 0% | 0% | <input>
Capital Costs:
Year to Capital Outlay | 0 | 0 | <input> | 0 | 0 | <input> | 0 | 0 | <input>
Cost of Equity | 9.857% | 0% | <input> | 9.857% | 0% | <input> | 9.857% | 0% | <input>
Percentage of Cap Structure - Equity | 58.22% | 0% | <input> | 58.22% | 0% | <input> | 58.22% | 0% | <input>
Cost of Debt | 6.934% | 4.507% | <input> | 6.934% | 4.507% | <input> | 6.934% | 4.507% | <input>
Percentage of Cap Structure - Debt | 41.78% | 100% | <input> | 41.78% | 100% | <input> | 41.78% | 100% | <input>
Tax Inputs
Federal Income Tax Rate | 35% | 0% | <input> | 35% | 0% | <input> | 35% | 0% | <input>
State Income Tax Rate | 8% | 0% | <input> | 8% | 0% | <input> | 8% | 0% | <input>
Composite Tax Rate | 40.2% | 0% | <input> | 40.2% | 0% | <input> | 40.2% | 0% | <input>
Value Added Tax Rate | 0% | 0% | <input> | 0% | 0% | <input> | 0% | 0% | <input>
Payments In Lieu of Taxes (PILOTs) | 0% | 5% | <input> | 0% | 5% | <input> | 0% | 5% | <input>
Property Tax Rate | 0% | 0% | <input> | 0% | 0% | <input> | 0% | 0% | <input>
Basis for Property Tax Rate | Depreciated Cost | Depreciated Cost | Depreciated Cost | Depreciated Cost | Depreciated Cost | Depreciated Cost | Depreciated Cost | Depreciated Cost | Depreciated Cost
Source: CPUC Water Cost of Capital Proceedings, Navigant Assumptions
Depreciation Life
Technology | Straight Line | MACRS | User Defined
Ocean Water Desalination Plant | 40 | 20 | <input>
Brackish Water Desalination Plant | 40 | 20 | <input>
Recycled Water – Tertiary Plus Disinfection | 40 | 10 | <input>
Recycled Water – Membrane Treatment | 40 | 10 | <input>
Groundwater Facility | 30 | 20 | <input>
User Defined Supply | <input> | <input> | <input>
Chlorine Disinfection | 40 | 10 | <input>
Contaminant Removal Plus Disinfection | 40 | 10 | <input>
User Defined | <input> | <input> | <input>
Wastewater Treatment | 24 | 15 | <input>
User Defined | <input> | <input> | <input>
Source: IRS, ca.gov

## WACC
CPUC Authorized Rates of Return and Capital Structures
For Major California Water Utilities
Average of 4 Utilities and 5 Small Class A Water Utilities
|  | Capital Ratio | Cost Factor | Weighted Cost
| Debt | 41.78% | 6.934% | 2.886%
| Equity | 58.22% | 9.857% | 5.732%
| WACC |  |  | 8.618%
Estimate of Municipal Water Utility Cost of Debt
| Municipal Debt Investor Marginal Federal Tax Rate |  |  | 35%
| Implied Yield on Municipal Debt |  |  | 4.507%
California Water Service Company
|  | Capital Ratio | Cost Factor | Weighted Cost
| Debt | 46.6% | 6.24% | 2.908%
| Equity | 53.4% | 9.99% | 5.335%
| Return on Rate Base |  |  | 8.243%
California-American Water Company
|  | Capital Ratio | Cost Factor | Weighted Cost
| Debt | 47% | 6.63% | 3.116%
| Equity | 53% | 9.99% | 5.295%
| Return on Rate Base |  |  | 8.411%
Golden State Water Company
|  | Capital Ratio | Cost Factor | Weighted Cost
| Debt | 45% | 6.99% | 3.146%
| Equity | 55% | 9.99% | 5.495%
| Return on Rate Base |  |  | 8.64%
San Jose Water Company
|  | Capital Ratio | Cost Factor | Weighted Cost
| Debt | 48.65% | 6.68% | 3.25%
| Equity | 51.35% | 9.99% | 5.13%
| Return on Rate Base |  |  | 8.38%
Park Water Company and Apple Valley Ranchos Water Company, jointly
|  | Capital Ratio | Cost Factor | Weighted Cost
| Debt | 43% | 8.12% | 3.492%
| Equity | 57% | 9.79% | 5.58%
| Return on Rate Base |  |  | 9.072%
San Gabriel Valley Water Company
|  | Capital Ratio | Cost Factor | Weighted Cost
| Debt | 37% | 6.264% | 2.318%
| Equity | 63% | 9.79% | 6.168%
| Return on Rate Base |  |  | 8.485%
Suburban Water Systems
|  | Capital Ratio | Cost Factor | Weighted Cost
| Debt | 37% | 7.05% | 2.608%
| Equity | 63% | 9.526% | 6.002%
| Return on Rate Base |  |  | 8.61%
Great Oaks Water Company
|  | Capital Ratio | Cost Factor | Weighted Cost
| Debt | 30% | 7.5% | 2.25%
| Equity | 70% | 9.79% | 6.853%
| Return on Rate Base |  |  | 9.103%

## Validation
Region | Region | Water Supply | Region | Potable Treatment | Wastewater Treatment
North Coast | North Coast | Recycled - Tertiary + Disinfection | North Coast | Chlorine Disinfection | Wastewater Treatment
San Francisco Bay | North Coast | Recycled - Membrane Treatment | North Coast | Contaminant Removal & Disinfection | User Defined
Central Coast | North Coast | Ocean Desalination | North Coast | User Defined
South Coast | North Coast | Brackish Desalination | San Francisco Bay | Chlorine Disinfection | Wastewater Treatment
Sacramento River | North Coast | Groundwater Facility | San Francisco Bay | Contaminant Removal & Disinfection | User Defined
San Joaquin River | North Coast | User Defined Supply | San Francisco Bay | User Defined
Tulare Lake | San Francisco Bay | Recycled - Tertiary + Disinfection | Central Coast | Chlorine Disinfection | Wastewater Treatment
North Lahontan | San Francisco Bay | Recycled - Membrane Treatment | Central Coast | Contaminant Removal & Disinfection | User Defined
South Lahontan | San Francisco Bay | Ocean Desalination | Central Coast | User Defined
Colorado River | San Francisco Bay | Brackish Desalination | South Coast | Chlorine Disinfection | Wastewater Treatment
User Defined Region 1 | San Francisco Bay | Groundwater Facility | South Coast | Contaminant Removal & Disinfection | User Defined
User Defined Region 2 | San Francisco Bay | User Defined Supply | South Coast | User Defined
User Defined Region 3 | Central Coast | Recycled - Tertiary + Disinfection | Sacramento River | Chlorine Disinfection | Wastewater Treatment
| Central Coast | Recycled - Membrane Treatment | Sacramento River | Contaminant Removal & Disinfection | User Defined
| Central Coast | Ocean Desalination | Sacramento River | User Defined
| Central Coast | Brackish Desalination | San Joaquin River | Chlorine Disinfection | Wastewater Treatment
| Central Coast | Groundwater Facility | San Joaquin River | Contaminant Removal & Disinfection | User Defined
| Central Coast | User Defined Supply | San Joaquin River | User Defined
| South Coast | Recycled - Tertiary + Disinfection | Tulare Lake | Chlorine Disinfection | Wastewater Treatment
| South Coast | Recycled - Membrane Treatment | Tulare Lake | Contaminant Removal & Disinfection | User Defined
| South Coast | Ocean Desalination | Tulare Lake | User Defined
| South Coast | Brackish Desalination | North Lahontan | Chlorine Disinfection | Wastewater Treatment
| South Coast | Groundwater Facility | North Lahontan | Contaminant Removal & Disinfection | User Defined
| South Coast | User Defined Supply | North Lahontan | User Defined
| Sacramento River | Recycled - Tertiary + Disinfection | South Lahontan | Chlorine Disinfection | Wastewater Treatment
| Sacramento River | Recycled - Membrane Treatment | South Lahontan | Contaminant Removal & Disinfection | User Defined
| Sacramento River | Brackish Desalination | South Lahontan | User Defined
| Sacramento River | Groundwater Facility | Colorado River | Chlorine Disinfection | Wastewater Treatment
| Sacramento River | User Defined Supply | Colorado River | Contaminant Removal & Disinfection | User Defined
| San Joaquin River | Recycled - Tertiary + Disinfection | Colorado River | User Defined
| San Joaquin River | Recycled - Membrane Treatment | User Defined Region 1 | Chlorine Disinfection | Wastewater Treatment
| San Joaquin River | Brackish Desalination | User Defined Region 1 | Contaminant Removal & Disinfection | User Defined
| San Joaquin River | Groundwater Facility | User Defined Region 1 | User Defined
| San Joaquin River | User Defined Supply | User Defined Region 2 | Chlorine Disinfection | Wastewater Treatment
| Tulare Lake | Recycled - Tertiary + Disinfection | User Defined Region 2 | Contaminant Removal & Disinfection | User Defined
| Tulare Lake | Recycled - Membrane Treatment | User Defined Region 2 | User Defined
| Tulare Lake | Brackish Desalination | User Defined Region 3 | Chlorine Disinfection | Wastewater Treatment
| Tulare Lake | Groundwater Facility | User Defined Region 3 | Contaminant Removal & Disinfection | User Defined
| Tulare Lake | User Defined Supply | User Defined Region 3 | User Defined
| North Lahontan | Recycled - Tertiary + Disinfection
| North Lahontan | Recycled - Membrane Treatment
| North Lahontan | Brackish Desalination
| North Lahontan | Groundwater Facility
| North Lahontan | User Defined Supply
| South Lahontan | Recycled - Tertiary + Disinfection
| South Lahontan | Recycled - Membrane Treatment
| South Lahontan | Brackish Desalination
| South Lahontan | Groundwater Facility
| South Lahontan | User Defined Supply
| Colorado River | Recycled - Tertiary + Disinfection
| Colorado River | Recycled - Membrane Treatment
| Colorado River | Brackish Desalination
| Colorado River | Groundwater Facility
| Colorado River | User Defined Supply
| User Defined Region 1 | Recycled - Tertiary + Disinfection
| User Defined Region 1 | Recycled - Membrane Treatment
| User Defined Region 1 | Ocean Desalination
| User Defined Region 1 | Brackish Desalination
| User Defined Region 1 | Groundwater Facility
| User Defined Region 1 | User Defined Supply
| User Defined Region 2 | Recycled - Tertiary + Disinfection
| User Defined Region 2 | Recycled - Membrane Treatment
| User Defined Region 2 | Ocean Desalination
| User Defined Region 2 | Brackish Desalination
| User Defined Region 2 | Groundwater Facility
| User Defined Region 2 | User Defined Supply
| User Defined Region 3 | Recycled - Tertiary + Disinfection
| User Defined Region 3 | Recycled - Membrane Treatment
| User Defined Region 3 | Ocean Desalination
| User Defined Region 3 | Brackish Desalination
| User Defined Region 3 | Groundwater Facility
| User Defined Region 3 | User Defined Supply

## Calculations>> (hidden)
Calculations>>>

## WaterSupply
| Annual | PV-Total
Levelized Real Marginal Cost | 0.30936 | 5.6869
Service Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Installed Cost | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914 | 3.1914
Straight Line Depreciation Expense | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786
Straight Line Accumulated Depreciation | 0.079786 | 0.15957 | 0.23936 | 0.31914 | 0.39893 | 0.47872 | 0.5585 | 0.63829 | 0.71807 | 0.79786 | 0.87764 | 0.95743 | 1.0372 | 1.117 | 1.1968 | 1.2766 | 1.3564 | 1.4361 | 1.5159 | 1.5957 | 1.6755 | 1.7553 | 1.8351 | 1.9149 | 1.9946 | 2.0744 | 2.1542 | 2.234 | 2.3138 | 2.3936 | 2.4734 | 2.5531 | 2.6329 | 2.7127 | 2.7925 | 2.8723 | 2.9521 | 3.0319 | 3.1116 | 3.1914
Net Plant - Beginning of Year | 3.1914 | 3.1116 | 3.0319 | 2.9521 | 2.8723 | 2.7925 | 2.7127 | 2.6329 | 2.5531 | 2.4734 | 2.3936 | 2.3138 | 2.234 | 2.1542 | 2.0744 | 1.9946 | 1.9149 | 1.8351 | 1.7553 | 1.6755 | 1.5957 | 1.5159 | 1.4361 | 1.3564 | 1.2766 | 1.1968 | 1.117 | 1.0372 | 0.95743 | 0.87764 | 0.79786 | 0.71807 | 0.63829 | 0.5585 | 0.47872 | 0.39893 | 0.31914 | 0.23936 | 0.15957 | 0.079786
Net Plant - End of Year | 3.1116 | 3.0319 | 2.9521 | 2.8723 | 2.7925 | 2.7127 | 2.6329 | 2.5531 | 2.4734 | 2.3936 | 2.3138 | 2.234 | 2.1542 | 2.0744 | 1.9946 | 1.9149 | 1.8351 | 1.7553 | 1.6755 | 1.5957 | 1.5159 | 1.4361 | 1.3564 | 1.2766 | 1.1968 | 1.117 | 1.0372 | 0.95743 | 0.87764 | 0.79786 | 0.71807 | 0.63829 | 0.5585 | 0.47872 | 0.39893 | 0.31914 | 0.23936 | 0.15957 | 0.079786 | 0
Service Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
MACRS Depreciation | 0.11968 | 0.23039 | 0.21309 | 0.19713 | 0.18233 | 0.16867 | 0.156 | 0.14432 | 0.1424 | 0.14237 | 0.14208 | 0.14237 | 0.1424 | 0.14237 | 0.1424 | 0.14237 | 0.1424 | 0.14237 | 0.1424 | 0.14237 | 0.07152 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(MACRS - Straight Line) * Tax Rate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Accumulated Deferred Income Taxes (ADIT) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Allowance for Working Capital | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Rate Base | 3.1116 | 3.0319 | 2.9521 | 2.8723 | 2.7925 | 2.7127 | 2.6329 | 2.5531 | 2.4734 | 2.3936 | 2.3138 | 2.234 | 2.1542 | 2.0744 | 1.9946 | 1.9149 | 1.8351 | 1.7553 | 1.6755 | 1.5957 | 1.5159 | 1.4361 | 1.3564 | 1.2766 | 1.1968 | 1.117 | 1.0372 | 0.95743 | 0.87764 | 0.79786 | 0.71807 | 0.63829 | 0.5585 | 0.47872 | 0.39893 | 0.31914 | 0.23936 | 0.15957 | 0.079786 | 0
Service Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Cost of Equity | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Percentage Equity | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
WA Equity Cost - Pretax | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Equity Component of Revenue Requirement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Cost of Debt | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507%
Percentage Debt | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
WA Debt Cost | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507%
Debt Component of Revenue Requirement | 0.14025 | 0.13665 | 0.13306 | 0.12946 | 0.12587 | 0.12227 | 0.11867 | 0.11508 | 0.11148 | 0.10788 | 0.10429 | 0.10069 | 0.097096 | 0.0935 | 0.089904 | 0.086308 | 0.082712 | 0.079116 | 0.075519 | 0.071923 | 0.068327 | 0.064731 | 0.061135 | 0.057539 | 0.053942 | 0.050346 | 0.04675 | 0.043154 | 0.039558 | 0.035962 | 0.032365 | 0.028769 | 0.025173 | 0.021577 | 0.017981 | 0.014385 | 0.010788 | 0.0071923 | 0.0035962 | 0
Service Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Income Tax Rate | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Income Tax Component of Revenue Requirement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Property Tax Rate | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Basis for Property Tax Rate | 3.1116 | 3.0319 | 2.9521 | 2.8723 | 2.7925 | 2.7127 | 2.6329 | 2.5531 | 2.4734 | 2.3936 | 2.3138 | 2.234 | 2.1542 | 2.0744 | 1.9946 | 1.9149 | 1.8351 | 1.7553 | 1.6755 | 1.5957 | 1.5159 | 1.4361 | 1.3564 | 1.2766 | 1.1968 | 1.117 | 1.0372 | 0.95743 | 0.87764 | 0.79786 | 0.71807 | 0.63829 | 0.5585 | 0.47872 | 0.39893 | 0.31914 | 0.23936 | 0.15957 | 0.079786 | 0
Property Tax Component of Revenue Requirement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Straight Line Depreciation Expense | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786 | 0.079786
Marginal O&M (Inflation Adjusted) | 0.087605 | 0.090233 | 0.09294 | 0.095728 | 0.0986 | 0.10156 | 0.1046 | 0.10774 | 0.11098 | 0.1143 | 0.11773 | 0.12127 | 0.1249 | 0.12865 | 0.13251 | 0.13649 | 0.14058 | 0.1448 | 0.14914 | 0.15362 | 0.15822 | 0.16297 | 0.16786 | 0.1729 | 0.17808 | 0.18343 | 0.18893 | 0.1946 | 0.20043 | 0.20645 | 0.21264 | 0.21902 | 0.22559 | 0.23236 | 0.23933 | 0.24651 | 0.2539 | 0.26152 | 0.26937 | 0.27745
Debt Component of Revenue Requirement | 0.14025 | 0.13665 | 0.13306 | 0.12946 | 0.12587 | 0.12227 | 0.11867 | 0.11508 | 0.11148 | 0.10788 | 0.10429 | 0.10069 | 0.097096 | 0.0935 | 0.089904 | 0.086308 | 0.082712 | 0.079116 | 0.075519 | 0.071923 | 0.068327 | 0.064731 | 0.061135 | 0.057539 | 0.053942 | 0.050346 | 0.04675 | 0.043154 | 0.039558 | 0.035962 | 0.032365 | 0.028769 | 0.025173 | 0.021577 | 0.017981 | 0.014385 | 0.010788 | 0.0071923 | 0.0035962 | 0
Equity Component of Revenue Requirement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Income Tax Component of Revenue Requirement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Property Taxes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Before VAT | 0.30764 | 0.30667 | 0.30578 | 0.30498 | 0.30425 | 0.30361 | 0.30306 | 0.30261 | 0.30224 | 0.30198 | 0.30181 | 0.30174 | 0.30179 | 0.30194 | 0.3022 | 0.30258 | 0.30308 | 0.3037 | 0.30445 | 0.30532 | 0.30634 | 0.30749 | 0.30878 | 0.31022 | 0.31181 | 0.31356 | 0.31546 | 0.31754 | 0.31978 | 0.32219 | 0.32479 | 0.32757 | 0.33055 | 0.33372 | 0.3371 | 0.34068 | 0.34448 | 0.3485 | 0.35275 | 0.35723
VAT Rate | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
VAT Component of the Revenue Requirement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Revenue Requirement before PILOTs | 0.30764 | 0.30667 | 0.30578 | 0.30498 | 0.30425 | 0.30361 | 0.30306 | 0.30261 | 0.30224 | 0.30198 | 0.30181 | 0.30174 | 0.30179 | 0.30194 | 0.3022 | 0.30258 | 0.30308 | 0.3037 | 0.30445 | 0.30532 | 0.30634 | 0.30749 | 0.30878 | 0.31022 | 0.31181 | 0.31356 | 0.31546 | 0.31754 | 0.31978 | 0.32219 | 0.32479 | 0.32757 | 0.33055 | 0.33372 | 0.3371 | 0.34068 | 0.34448 | 0.3485 | 0.35275 | 0.35723
Payments In Lieu of Taxes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Annual Revenue Requirement | 0.30764 | 0.30667 | 0.30578 | 0.30498 | 0.30425 | 0.30361 | 0.30306 | 0.30261 | 0.30224 | 0.30198 | 0.30181 | 0.30174 | 0.30179 | 0.30194 | 0.3022 | 0.30258 | 0.30308 | 0.3037 | 0.30445 | 0.30532 | 0.30634 | 0.30749 | 0.30878 | 0.31022 | 0.31181 | 0.31356 | 0.31546 | 0.31754 | 0.31978 | 0.32219 | 0.32479 | 0.32757 | 0.33055 | 0.33372 | 0.3371 | 0.34068 | 0.34448 | 0.3485 | 0.35275 | 0.35723
Service Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Discount Rate (WACC) | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507%
Discount Factor | 95.69% | 91.56% | 87.61% | 83.83% | 80.22% | 76.76% | 73.45% | 70.28% | 67.25% | 64.35% | 61.57% | 58.92% | 56.38% | 53.94% | 51.62% | 49.39% | 47.26% | 45.22% | 43.27% | 41.41% | 39.62% | 37.91% | 36.28% | 34.71% | 33.22% | 31.78% | 30.41% | 29.1% | 27.85% | 26.64% | 25.5% | 24.4% | 23.34% | 22.34% | 21.37% | 20.45% | 19.57% | 18.73% | 17.92% | 17.15%
Discounted Revenue Requirement | 0.29437 | 0.28079 | 0.2679 | 0.25567 | 0.24406 | 0.23305 | 0.22259 | 0.21267 | 0.20325 | 0.19432 | 0.18583 | 0.17778 | 0.17014 | 0.16288 | 0.15599 | 0.14945 | 0.14324 | 0.13734 | 0.13174 | 0.12642 | 0.12137 | 0.11658 | 0.11202 | 0.10768 | 0.10357 | 0.099657 | 0.095939 | 0.092404 | 0.089043 | 0.085847 | 0.082806 | 0.079914 | 0.077162 | 0.074542 | 0.072049 | 0.069674 | 0.067413 | 0.065258 | 0.063205 | 0.061248
Levelized Marginal Cost | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936
Annual Avoided Capacity Cost | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936 | 0.30936
MACRS Term | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
3 | 0.3333 | 0.4445 | 0.1481 | 0.0741
5 | 0.2 | 0.32 | 0.192 | 0.1152 | 0.1152 | 0.0576
7 | 0.1429 | 0.2449 | 0.1749 | 0.1249 | 0.0893 | 0.0892 | 0.0893 | 0.0446
10 | 0.1 | 0.18 | 0.144 | 0.1152 | 0.0922 | 0.0737 | 0.0655 | 0.0655 | 0.0656 | 0.0655 | 0.0328
15 | 0.05 | 0.095 | 0.0855 | 0.077 | 0.0693 | 0.0623 | 0.059 | 0.059 | 0.0591 | 0.059 | 0.059 | 0.059 | 0.0591 | 0.059 | 0.0591 | 0.0296
20 | 0.0375 | 0.07219 | 0.06677 | 0.06177 | 0.05713 | 0.05285 | 0.04888 | 0.04522 | 0.04462 | 0.04461 | 0.04452 | 0.04461 | 0.04462 | 0.04461 | 0.04462 | 0.04461 | 0.04462 | 0.04461 | 0.04462 | 0.04461 | 0.02241

## PotableTreatment
| Annual | PV-Total
Levelized Real Marginal Cost | 0.016565 | 0.3113
Service Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Installed Cost | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658 | 0.058658
Straight Line Depreciation Expense | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664
Straight Line Accumulated Depreciation | 0.0014664 | 0.0029329 | 0.0043993 | 0.0058658 | 0.0073322 | 0.0087987 | 0.010265 | 0.011732 | 0.013198 | 0.014664 | 0.016131 | 0.017597 | 0.019064 | 0.02053 | 0.021997 | 0.023463 | 0.02493 | 0.026396 | 0.027863 | 0.029329 | 0.030795 | 0.032262 | 0.033728 | 0.035195 | 0.036661 | 0.038128 | 0.039594 | 0.041061 | 0.042527 | 0.043993 | 0.04546 | 0.046926 | 0.048393 | 0.049859 | 0.051326 | 0.052792 | 0.054259 | 0.055725 | 0.057191 | 0.058658
Net Plant - Beginning of Year | 0.058658 | 0.057191 | 0.055725 | 0.054259 | 0.052792 | 0.051326 | 0.049859 | 0.048393 | 0.046926 | 0.04546 | 0.043993 | 0.042527 | 0.041061 | 0.039594 | 0.038128 | 0.036661 | 0.035195 | 0.033728 | 0.032262 | 0.030795 | 0.029329 | 0.027863 | 0.026396 | 0.02493 | 0.023463 | 0.021997 | 0.02053 | 0.019064 | 0.017597 | 0.016131 | 0.014664 | 0.013198 | 0.011732 | 0.010265 | 0.0087987 | 0.0073322 | 0.0058658 | 0.0043993 | 0.0029329 | 0.0014664
Net Plant - End of Year | 0.057191 | 0.055725 | 0.054259 | 0.052792 | 0.051326 | 0.049859 | 0.048393 | 0.046926 | 0.04546 | 0.043993 | 0.042527 | 0.041061 | 0.039594 | 0.038128 | 0.036661 | 0.035195 | 0.033728 | 0.032262 | 0.030795 | 0.029329 | 0.027863 | 0.026396 | 0.02493 | 0.023463 | 0.021997 | 0.02053 | 0.019064 | 0.017597 | 0.016131 | 0.014664 | 0.013198 | 0.011732 | 0.010265 | 0.0087987 | 0.0073322 | 0.0058658 | 0.0043993 | 0.0029329 | 0.0014664 | 0
Service Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
MACRS Depreciation | 0.0058658 | 0.010558 | 0.0084467 | 0.0067574 | 0.0054083 | 0.0043231 | 0.0038421 | 0.0038421 | 0.003848 | 0.0038421 | 0.001924 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(MACRS - Straight Line) * Tax Rate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Accumulated Deferred Income Taxes (ADIT) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Allowance for Working Capital | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Rate Base | 0.057191 | 0.055725 | 0.054259 | 0.052792 | 0.051326 | 0.049859 | 0.048393 | 0.046926 | 0.04546 | 0.043993 | 0.042527 | 0.041061 | 0.039594 | 0.038128 | 0.036661 | 0.035195 | 0.033728 | 0.032262 | 0.030795 | 0.029329 | 0.027863 | 0.026396 | 0.02493 | 0.023463 | 0.021997 | 0.02053 | 0.019064 | 0.017597 | 0.016131 | 0.014664 | 0.013198 | 0.011732 | 0.010265 | 0.0087987 | 0.0073322 | 0.0058658 | 0.0043993 | 0.0029329 | 0.0014664 | 0
Service Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Cost of Equity | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Percentage Equity | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
WA Equity Cost - Pretax | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Equity Component of Revenue Requirement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Cost of Debt | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507%
Percentage Debt | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
WA Debt Cost | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507%
Debt Component of Revenue Requirement | 0.0025778 | 0.0025117 | 0.0024456 | 0.0023795 | 0.0023134 | 0.0022473 | 0.0021812 | 0.0021151 | 0.002049 | 0.0019829 | 0.0019168 | 0.0018507 | 0.0017846 | 0.0017185 | 0.0016524 | 0.0015863 | 0.0015202 | 0.0014541 | 0.001388 | 0.0013219 | 0.0012558 | 0.0011897 | 0.0011236 | 0.0010575 | 0.00099145 | 0.00092535 | 0.00085926 | 0.00079316 | 0.00072706 | 0.00066097 | 0.00059487 | 0.00052877 | 0.00046268 | 0.00039658 | 0.00033048 | 0.00026439 | 0.00019829 | 0.00013219 | 6.6097e-05 | 0
Service Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Income Tax Rate | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Income Tax Component of Revenue Requirement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Property Tax Rate | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Basis for Property Tax Rate | 0.057191 | 0.055725 | 0.054259 | 0.052792 | 0.051326 | 0.049859 | 0.048393 | 0.046926 | 0.04546 | 0.043993 | 0.042527 | 0.041061 | 0.039594 | 0.038128 | 0.036661 | 0.035195 | 0.033728 | 0.032262 | 0.030795 | 0.029329 | 0.027863 | 0.026396 | 0.02493 | 0.023463 | 0.021997 | 0.02053 | 0.019064 | 0.017597 | 0.016131 | 0.014664 | 0.013198 | 0.011732 | 0.010265 | 0.0087987 | 0.0073322 | 0.0058658 | 0.0043993 | 0.0029329 | 0.0014664 | 0
Property Tax Component of Revenue Requirement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Straight Line Depreciation Expense | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0014664
Marginal O&M (Inflation Adjusted) | 0.0084497 | 0.0087032 | 0.0089643 | 0.0092332 | 0.0095102 | 0.0097955 | 0.010089 | 0.010392 | 0.010704 | 0.011025 | 0.011356 | 0.011696 | 0.012047 | 0.012409 | 0.012781 | 0.013164 | 0.013559 | 0.013966 | 0.014385 | 0.014817 | 0.015261 | 0.015719 | 0.016191 | 0.016676 | 0.017177 | 0.017692 | 0.018223 | 0.018769 | 0.019332 | 0.019912 | 0.02051 | 0.021125 | 0.021759 | 0.022411 | 0.023084 | 0.023776 | 0.02449 | 0.025224 | 0.025981 | 0.02676
Debt Component of Revenue Requirement | 0.0025778 | 0.0025117 | 0.0024456 | 0.0023795 | 0.0023134 | 0.0022473 | 0.0021812 | 0.0021151 | 0.002049 | 0.0019829 | 0.0019168 | 0.0018507 | 0.0017846 | 0.0017185 | 0.0016524 | 0.0015863 | 0.0015202 | 0.0014541 | 0.001388 | 0.0013219 | 0.0012558 | 0.0011897 | 0.0011236 | 0.0010575 | 0.00099145 | 0.00092535 | 0.00085926 | 0.00079316 | 0.00072706 | 0.00066097 | 0.00059487 | 0.00052877 | 0.00046268 | 0.00039658 | 0.00033048 | 0.00026439 | 0.00019829 | 0.00013219 | 6.6097e-05 | 0
Equity Component of Revenue Requirement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Income Tax Component of Revenue Requirement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Property Taxes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Before VAT | 0.012494 | 0.012681 | 0.012876 | 0.013079 | 0.01329 | 0.013509 | 0.013737 | 0.013974 | 0.014219 | 0.014474 | 0.014739 | 0.015014 | 0.015298 | 0.015594 | 0.0159 | 0.016217 | 0.016546 | 0.016887 | 0.01724 | 0.017605 | 0.017983 | 0.018375 | 0.018781 | 0.0192 | 0.019634 | 0.020084 | 0.020548 | 0.021029 | 0.021526 | 0.02204 | 0.022571 | 0.02312 | 0.023688 | 0.024274 | 0.024881 | 0.025507 | 0.026154 | 0.026823 | 0.027514 | 0.028227
VAT Rate | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
VAT Component of the Revenue Requirement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Revenue Requirement before PILOTs | 0.012494 | 0.012681 | 0.012876 | 0.013079 | 0.01329 | 0.013509 | 0.013737 | 0.013974 | 0.014219 | 0.014474 | 0.014739 | 0.015014 | 0.015298 | 0.015594 | 0.0159 | 0.016217 | 0.016546 | 0.016887 | 0.01724 | 0.017605 | 0.017983 | 0.018375 | 0.018781 | 0.0192 | 0.019634 | 0.020084 | 0.020548 | 0.021029 | 0.021526 | 0.02204 | 0.022571 | 0.02312 | 0.023688 | 0.024274 | 0.024881 | 0.025507 | 0.026154 | 0.026823 | 0.027514 | 0.028227
Payments In Lieu of Taxes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Annual Revenue Requirement | 0.012494 | 0.012681 | 0.012876 | 0.013079 | 0.01329 | 0.013509 | 0.013737 | 0.013974 | 0.014219 | 0.014474 | 0.014739 | 0.015014 | 0.015298 | 0.015594 | 0.0159 | 0.016217 | 0.016546 | 0.016887 | 0.01724 | 0.017605 | 0.017983 | 0.018375 | 0.018781 | 0.0192 | 0.019634 | 0.020084 | 0.020548 | 0.021029 | 0.021526 | 0.02204 | 0.022571 | 0.02312 | 0.023688 | 0.024274 | 0.024881 | 0.025507 | 0.026154 | 0.026823 | 0.027514 | 0.028227
Service Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Discount Rate (WACC) | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507%
Discount Factor | 97.82% | 93.6% | 89.56% | 85.7% | 82.01% | 78.47% | 75.08% | 71.85% | 68.75% | 65.78% | 62.95% | 60.23% | 57.63% | 55.15% | 52.77% | 50.49% | 48.32% | 46.23% | 44.24% | 42.33% | 40.5% | 38.76% | 37.09% | 35.49% | 33.96% | 32.49% | 31.09% | 29.75% | 28.47% | 27.24% | 26.06% | 24.94% | 23.86% | 22.83% | 21.85% | 20.91% | 20.01% | 19.14% | 18.32% | 17.53%
Discounted Revenue Requirement | 0.012222 | 0.01187 | 0.011533 | 0.011209 | 0.010899 | 0.0106 | 0.010314 | 0.010039 | 0.0097754 | 0.0095215 | 0.0092774 | 0.0090427 | 0.0088168 | 0.0085994 | 0.0083901 | 0.0081885 | 0.0079942 | 0.0078069 | 0.0076263 | 0.0074521 | 0.007284 | 0.0071217 | 0.0069649 | 0.0068134 | 0.006667 | 0.0065254 | 0.0063884 | 0.0062559 | 0.0061275 | 0.0060032 | 0.0058828 | 0.005766 | 0.0056528 | 0.005543 | 0.0054364 | 0.0053329 | 0.0052324 | 0.0051347 | 0.0050397 | 0.0049474
Levelized Marginal Cost | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565
Annual Avoided Capacity Cost | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565 | 0.016565
MACRS Term | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
3 | 0.3333 | 0.4445 | 0.1481 | 0.0741
5 | 0.2 | 0.32 | 0.192 | 0.1152 | 0.1152 | 0.0576
7 | 0.1429 | 0.2449 | 0.1749 | 0.1249 | 0.0893 | 0.0892 | 0.0893 | 0.0446
10 | 0.1 | 0.18 | 0.144 | 0.1152 | 0.0922 | 0.0737 | 0.0655 | 0.0655 | 0.0656 | 0.0655 | 0.0328
15 | 0.05 | 0.095 | 0.0855 | 0.077 | 0.0693 | 0.0623 | 0.059 | 0.059 | 0.0591 | 0.059 | 0.059 | 0.059 | 0.0591 | 0.059 | 0.0591 | 0.0296
20 | 0.0375 | 0.07219 | 0.06677 | 0.06177 | 0.05713 | 0.05285 | 0.04888 | 0.04522 | 0.04462 | 0.04461 | 0.04452 | 0.04461 | 0.04462 | 0.04461 | 0.04462 | 0.04461 | 0.04462 | 0.04461 | 0.04462 | 0.04461 | 0.02241

## WastewaterTreatment
| Annual | PV-Total
Levelized Real Marginal Cost | 2.1513 | 31.8564
Service Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Installed Cost | 17.98 | 17.98 | 17.98 | 17.98 | 17.98 | 17.98 | 17.98 | 17.98 | 17.98 | 17.98 | 17.98 | 17.98 | 17.98 | 17.98 | 17.98 | 17.98 | 17.98 | 17.98 | 17.98 | 17.98 | 17.98 | 17.98 | 17.98 | 17.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Straight Line Depreciation Expense | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Straight Line Accumulated Depreciation | 0.74917 | 1.4983 | 2.2475 | 2.9967 | 3.7458 | 4.495 | 5.2442 | 5.9933 | 6.7425 | 7.4917 | 8.2408 | 8.99 | 9.7392 | 10.4883 | 11.2375 | 11.9867 | 12.7358 | 13.485 | 14.2342 | 14.9833 | 15.7325 | 16.4817 | 17.2308 | 17.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Plant - Beginning of Year | 17.98 | 17.2308 | 16.4817 | 15.7325 | 14.9833 | 14.2342 | 13.485 | 12.7358 | 11.9867 | 11.2375 | 10.4883 | 9.7392 | 8.99 | 8.2408 | 7.4917 | 6.7425 | 5.9933 | 5.2442 | 4.495 | 3.7458 | 2.9967 | 2.2475 | 1.4983 | 0.74917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Plant - End of Year | 17.2308 | 16.4817 | 15.7325 | 14.9833 | 14.2342 | 13.485 | 12.7358 | 11.9867 | 11.2375 | 10.4883 | 9.7392 | 8.99 | 8.2408 | 7.4917 | 6.7425 | 5.9933 | 5.2442 | 4.495 | 3.7458 | 2.9967 | 2.2475 | 1.4983 | 0.74917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
MACRS Depreciation | 0.899 | 1.7081 | 1.5373 | 1.3845 | 1.246 | 1.1202 | 1.0608 | 1.0608 | 1.0626 | 1.0608 | 1.0608 | 1.0608 | 1.0626 | 1.0608 | 1.0626 | 0.53221 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(MACRS - Straight Line) * Tax Rate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Accumulated Deferred Income Taxes (ADIT) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Allowance for Working Capital | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Rate Base | 17.2308 | 16.4817 | 15.7325 | 14.9833 | 14.2342 | 13.485 | 12.7358 | 11.9867 | 11.2375 | 10.4883 | 9.7392 | 8.99 | 8.2408 | 7.4917 | 6.7425 | 5.9933 | 5.2442 | 4.495 | 3.7458 | 2.9967 | 2.2475 | 1.4983 | 0.74917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Cost of Equity | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Percentage Equity | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
WA Equity Cost - Pretax | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Equity Component of Revenue Requirement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Cost of Debt | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507%
Percentage Debt | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
WA Debt Cost | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507%
Debt Component of Revenue Requirement | 0.77664 | 0.74287 | 0.70911 | 0.67534 | 0.64157 | 0.6078 | 0.57404 | 0.54027 | 0.5065 | 0.47274 | 0.43897 | 0.4052 | 0.37144 | 0.33767 | 0.3039 | 0.27014 | 0.23637 | 0.2026 | 0.16883 | 0.13507 | 0.1013 | 0.067534 | 0.033767 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Income Tax Rate | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Income Tax Component of Revenue Requirement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Property Tax Rate | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Basis for Property Tax Rate | 17.2308 | 16.4817 | 15.7325 | 14.9833 | 14.2342 | 13.485 | 12.7358 | 11.9867 | 11.2375 | 10.4883 | 9.7392 | 8.99 | 8.2408 | 7.4917 | 6.7425 | 5.9933 | 5.2442 | 4.495 | 3.7458 | 2.9967 | 2.2475 | 1.4983 | 0.74917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Property Tax Component of Revenue Requirement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Straight Line Depreciation Expense | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0.74917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Marginal O&M (Inflation Adjusted) | 0.7 | 0.721 | 0.74263 | 0.76491 | 0.78786 | 0.81149 | 0.83584 | 0.86091 | 0.88674 | 0.91334 | 0.94074 | 0.96896 | 0.99803 | 1.028 | 1.0588 | 1.0906 | 1.1233 | 1.157 | 1.1917 | 1.2275 | 1.2643 | 1.3022 | 1.3413 | 1.3815 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt Component of Revenue Requirement | 0.77664 | 0.74287 | 0.70911 | 0.67534 | 0.64157 | 0.6078 | 0.57404 | 0.54027 | 0.5065 | 0.47274 | 0.43897 | 0.4052 | 0.37144 | 0.33767 | 0.3039 | 0.27014 | 0.23637 | 0.2026 | 0.16883 | 0.13507 | 0.1013 | 0.067534 | 0.033767 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Equity Component of Revenue Requirement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Income Tax Component of Revenue Requirement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Property Taxes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Before VAT | 2.2258 | 2.213 | 2.2009 | 2.1894 | 2.1786 | 2.1685 | 2.159 | 2.1503 | 2.1424 | 2.1352 | 2.1289 | 2.1233 | 2.1186 | 2.1148 | 2.1119 | 2.1099 | 2.1088 | 2.1088 | 2.1097 | 2.1117 | 2.1147 | 2.1189 | 2.1242 | 2.1307 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VAT Rate | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
VAT Component of the Revenue Requirement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Revenue Requirement before PILOTs | 2.2258 | 2.213 | 2.2009 | 2.1894 | 2.1786 | 2.1685 | 2.159 | 2.1503 | 2.1424 | 2.1352 | 2.1289 | 2.1233 | 2.1186 | 2.1148 | 2.1119 | 2.1099 | 2.1088 | 2.1088 | 2.1097 | 2.1117 | 2.1147 | 2.1189 | 2.1242 | 2.1307 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Payments In Lieu of Taxes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Annual Revenue Requirement | 2.2258 | 2.213 | 2.2009 | 2.1894 | 2.1786 | 2.1685 | 2.159 | 2.1503 | 2.1424 | 2.1352 | 2.1289 | 2.1233 | 2.1186 | 2.1148 | 2.1119 | 2.1099 | 2.1088 | 2.1088 | 2.1097 | 2.1117 | 2.1147 | 2.1189 | 2.1242 | 2.1307 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Discount Rate (WACC) | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507% | 4.507%
Discount Factor | 97.82% | 93.6% | 89.56% | 85.7% | 82.01% | 78.47% | 75.08% | 71.85% | 68.75% | 65.78% | 62.95% | 60.23% | 57.63% | 55.15% | 52.77% | 50.49% | 48.32% | 46.23% | 44.24% | 42.33% | 40.5% | 38.76% | 37.09% | 35.49% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Discounted Revenue Requirement | 2.1773 | 2.0714 | 1.9712 | 1.8764 | 1.7866 | 1.7016 | 1.6211 | 1.5449 | 1.4728 | 1.4046 | 1.34 | 1.2789 | 1.221 | 1.1663 | 1.1144 | 1.0653 | 1.0189 | 0.97491 | 0.93328 | 0.89387 | 0.85656 | 0.82123 | 0.78777 | 0.75609 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Levelized Marginal Cost | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual Avoided Capacity Cost | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513 | 2.1513
MACRS Term | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
3 | 0.3333 | 0.4445 | 0.1481 | 0.0741
5 | 0.2 | 0.32 | 0.192 | 0.1152 | 0.1152 | 0.0576
7 | 0.1429 | 0.2449 | 0.1749 | 0.1249 | 0.0893 | 0.0892 | 0.0893 | 0.0446
10 | 0.1 | 0.18 | 0.144 | 0.1152 | 0.0922 | 0.0737 | 0.0655 | 0.0655 | 0.0656 | 0.0655 | 0.0328
15 | 0.05 | 0.095 | 0.0855 | 0.077 | 0.0693 | 0.0623 | 0.059 | 0.059 | 0.0591 | 0.059 | 0.059 | 0.059 | 0.0591 | 0.059 | 0.0591 | 0.0296
20 | 0.0375 | 0.07219 | 0.06677 | 0.06177 | 0.05713 | 0.05285 | 0.04888 | 0.04522 | 0.04462 | 0.04461 | 0.04452 | 0.04461 | 0.04462 | 0.04461 | 0.04462 | 0.04461 | 0.04462 | 0.04461 | 0.04462 | 0.04461 | 0.02241