## Slide 1
The California Energy Storage Alliance (CESA)
Chris Edgette| Senior Director, Strategen Consulting
February 9, 2015
RA & Deliverability Approach for Grid Storage

## Slide 2: CESA Supports Multiple Actions for RA Eligible Storage
Energy Storage Approach |  | Actions at the CPUC | Actions at the CAISO
1 | ES providing system/local and flexible capacity | Unbundle EFC from NQC (SDG&E Proposal) | Use existing system/local deliverability study Continue developing flexible deliverability study process
2 | ES providing flexible capacity only | Unbundle EFC from NQC (SDG&E Proposal) Allow EFC-Only resources | Continue developing flexible deliverability study process
3 | ES that does not add to the pMax of existing generation (But seeks updated ELCC and EFC values) | Develop ELCC methodology that accounts for on-site storage with generation Develop EFC methodology that accounts for updated flexibility of hybrid resource | Pre-COD: Expand material modification options to account for flexibility addition Post-COD: Reevaluate hybrid resource for standard and/or flex only (e.g. no new reliability study)

## Slide 3: Non-RA Eligible Storage Resources - Clarification
Energy Storage Approach |  | CPUC | CAISO
4 | ES as a non-wires alternative for transmission upgrades | Not RA Eligible | Included in TPP
5 | ES as a non-wires alternative for distribution upgrades | Not RA Eligible | CESA supports market participation for rate based assets
6 | ES installed for market participation only | Not RA Eligible | No change – this is an “Energy Only” resource

## Slide 4: CESA Draft Proposed Approach to Deliverability
 | Metric | Storage Operation | Time Period
System/Local Deliverability Study (existing) | pMaxRA | Discharging | Summer Evening Peak
Flexible Deliverability Study (proposed) | pMinRA | Charging | Spring Midday Off Peak (low net load)
 | pMax | Discharging | Spring Evening Peak
Advantages of proposed flexible deliverability approach:
Leads to a cost effective, realistic transmission upgrade strategy
Accounts for charging load as an aspect of flexibility
Straightforward study modeling

## Slide 5: Distributed Energy Storage RA Qualification Concerns
CAISO
Concern | Action | Agency
Additional RA Guidance is needed for behind the meter resources which are: Fully grid interactive Highly available Independent from load Independently metered | Continue developing Supply Resource DR | CPUC
Deliverability Studies are not set up for distributed resources: $50,000 study per individual site is too high for distributed generation Addresses may not always be available at time of study; regional studies should be allowed. | Account for distributed resources in deliverability study and process development | CAISO