May 5, 2017

Dear: Paula Gruendling, CPUC

Amul Sathe, Navigant Consulting, Inc

Chris Ann Dickerson, CAD Consulting

Re: Draft Behavioral, Retrocommissioning and Operational (BROs) results for 2018 Market Potential and Beyond

Southern California Edison Company (SCE) appreciates the opportunity to provide comments on the California Public Utilities Commission’s (CPUC’s) draft results regarding Energy Efficiency Potential and Goals Study for 2018 and Beyond’s Draft Behavior, Retrocommissing, and Operational (BRO) savings results.

On April 20, 2017, the California Public Utilities Commission’s (CPUC) Energy Division (ED) held a Demand Analysis Working Group (DAWG) conference call focusing on the 2018 EE Potential and Goals Study modeling of Behavioral, Retro-Commissioning and Operational (BROs) Savings.  ED and their consultant Navigant requested Stakeholder comments to be informally supplied on May 4, 2017.  Southern California Edison Company (SCE) is pleased to provide comments draft BROS modeling methodology and model output.

# 1. Introduction:

SCE’s Energy Efficiency (EE) Portfolio will be designed and built to meet or beat the promulgated EE goals in a cost-effective, reliable and achievable manner. Operationalizing SB350 and AB802’s BRO requirements inject significant amounts of uncertainty into the goal setting process as most BRO programs do not currently exist or programs are in the process of being significantly retooled to meet the requirements of these efforts. These increased uncertainty levels creates methodological challenges for Forecasters, EE Program Managers, and Regulators alike, on how to address uncertainty and assure potential savings is reasonably quantified while assuring savings goals are achievable, and can be reliably captured while addressing cost-effective requirements of EE Programs.

SCE suggests reflecting uncertainty in the Market Potential through a Methodology that ensures that these estimates are reasonably expected to occur. As evident in the draft BROs model output, there are challenges in meeting the objects between all three key users of the EE Potential and Goals study output – Regulator’s, Forecaster’s and Program Administrator’s in pursuit of achieving SB350 efficiency goals. Assessing bounds of uncertainty inherent in this new environment in constructing EE program goals is required to assure goals are constructed that are reliable, achievable and cost-effective to include:

1) EE program goals are reliable, achievable and cost-effective

2) Public Policy impacts on program requirement are explicitly addressed

3) PA program limitations are explicitly addressed

4) CPUC policy impacts of program savings are explicitly addressed

The draft BRO methodology deployed by ED and Navigant, does what is it designed to do, estimate Achievable Potential, but discounts current Regulatory and Program constraints.  It is critically important that the EE Potential and Goals study methodology reasonably account for EE Program goals output that estimates EE Program potential under current conditions, but remains nimble enough to provide updated EE Program goals as Regulatory and Program rules and metrics become more clearly defined and operationalize through vehicles such as the Rolling Portfolio’s Bus Stop.

SCE suggests that in order to reflect current program uncertainty of these emerging interventions in the market potential to adjust the adoption assumption of the these interventions to reflect what is deemed reasonably likely to occur within each intervention. For an offering such as Home Energy Reports there is greater certainty around the reasonableness of the cost-effective market potential. Interventions such as RCx will need to work through uncertainty as the programs are retooled to capture savings under new CPUC guidance. Finally, interventions such as Web-Real Time Feedback may present long-term economic, but not necessarily market potential.  The calculation of Market Potential must reasonably account for consumer uptake uncertainty and cost-effectiveness constraints.

Historically, EE Potential and Goals studies have been reflective of CPUC policy and program direction.  EE Program Goals have been informed by a midlevel EE Potential forecast calibrated to historic EE program savings activity. Model scenarios focused on changing the measure level adoptions/savings, cost-effectiveness, and savings attribution (EE Program vs. C&S) as a proxy for estimating the effects on the program administrators’ ability to capture the savings.  These concepts worked well as long as the EE programs operated in a placid and slow changing environment.  Since little data is available for these new programs, these savings estimates will add to the uncertainty of the EE Potential and goals forecast. SCE strongly requests that BROs continue to be considered as separate components, per BROs program, and that the uncertainty with the ability to cost-effectively capture their associate potential is adjusted as better program data becomes available.

# Calculation of Cost Effectiveness:

Navigant Consulting’s BRO savings presentation detail the savings, cost and peak to energy ratios and Cost-Effectiveness results.  It is SCE’s understanding that all IOU programs were estimated using the same avoided cost and cost per KWh captured. SCE would like to request more information on how cost-effectiveness was calculated as SCE’s cost-effectiveness calculations are significantly above other IOU’s and, and in one instance almost three time higher.  This anomaly has the potential to drastically inflate SCE’s EE program goals, and warrant double checking, investigation and explanation.

# Measure Inputs:

## Home Energy Reports for Southern California Edison will increase.

SCE anticipates that the Home Energy Report Program will exceed the market potential identified with the Home Energy Report in the draft BROs market Potential. HER’s are being mailed to approximately 17% of SCE residential customers and are anticipated to achieve 30+ GWh in 2017 and are reasonably likely to continue in 2018 and 2019. The increased penetration rate, however, should be evaluated for sustainability over the long term as utilities reach saturation of high potential and cost-effective savings. It is anticipated that under current Randomized Control Trial designs not all customers are eligible to participate and that homes with less savings potential are likely to decrease UES over a greater population over time. (i.e. 25% of customers will have a 2% savings but the next round of customers may only realize 1%.)  SCE’s 2016 HER program captured 65kWh per treatment.

SCE recommends a closer evaluation of the inputs to better align penetration rates, unit energy savings and peak to energy ratio to ensure programmatic alignment.

## Web-Real Time Feedback:

SCE believes that web-real time feedback savings are overstated. SCE is currently in the process of developing pilots and programs to test the viability of these offerings.  Pilots for offerings based on potential solutions such still have time and processes to work through before they are eligible to claim savings and determine the cost-effectiveness of the approach. SCE is beginning the process of conducting multiple pilots to assess claimable savings potential for feedback based approached. Activities include:

- Enhanced Energy Advisor Tool (EEAT) (aka audit tool) still have time before it is eligible to claim savings and determine the cost-effectiveness of the approach. These efforts are likely to remain uncertain until 2109 of 2020.

- Points and Rewards Pilot feedback program that will target 60,000 customers with an anticipated participation rate of 3-4% which will help inform cost-effectiveness and scalability for these interventions. The results for this pilot are also not expected until 2019 at the earliest.

- The draft market potential for the web real-time begins in 2018 and expects a 10% penetration rate, both of which are not reasonably likely to occur. Furthermore, alternative and relevant examples of web/real time feedback offerings will be informed by potential offerings developed as a part of AB793’s associated pilots which will require the development of performance related programs revolving around web based feedback and IHD offerings. These programs are mandated to be launched by Q4 of 2017 and also require a 12 month ex-post evaluation pushing claimable savings into 2019 and also at a pilot scale.

## Commercial Retrocommissioning:

Unit Energy Savings assumptions: Historically, RCx claimed savings is 3% of average annual usage.  A more realistic savings percentage of 5% for the large/small office and college/school sectors would be appropriate. The current assumptions for these particular building types range from 8% to 12% which is unlikely to be realized.

Review of Representative measures: Measures indicated under Commercial  Retrocommissioning (RCx), such as correct actuator/damper operations and correct economizer operations have the potential of replacing like for like equipment, which based on further clarification from the Commission Staff is likely to be considered normal replacement thus would not qualify for Retro-commissioning under programmatic BRO framework described in Resolution E-4818. If the Commission adopts the clarification that these measures are considered normal replacement, it would reduce the historical savings potential for Retrocommissioning activities significantly, by approximately 65%. Furthermore, the identified measures tend to be higher savings per unit which could result in additional reduction in RCx UES savings values and associated Cost-effectiveness.

Size of RCx:  Historically, SCE has spent approximately $2,000,000 per year vs. $2.37 suggest in the draft RCx methodology. While the associated dollar amount is reasonable the resulting increase in higher UES appears to be driving the Cost effectiveness and is not likely to reasonable occur as a more limited scope of RCx is clarified by CPUC Staff/Consultants through the appropriate working groups. It is accurate to expect currently flat spending level, market penetration is flat and the adoption rate is reasonable. The size of RCx is also directly dependent on its cost-effectiveness. Historically, a 5 year Existing Useful Life (EUL) would be appropriate but recent decision regarding program offerings have limited the EUL to 3 years based on Resolution E-4818 and not the 5 years indicated in the studies’ methodology. This change will reduce the range of RCx measures applicability based on cost effectiveness.

## Building Operation Certification (BOC) and Business Energy Reports (BERs), Commercial Building Information and Energy Management Systems (BIEMS)

SCE currently does not have offerings that align with BOC. BERs. BIEMS at this time and recommends removing potential in the immediate term due to uncertainty associated with these savings and the unknown cost-effectiveness of these approaches.  As more information is developed and portfolio funding shifts to Third Party approaches and administration these innervations’ associated market potential could be expanded in future market potential studies.

## Commercial Strategic Energy Management

Currently, Strategic Energy Management is limited to the Industrial Sector and precluded by from being applied to the Commercial sector until initial Pilots are completed. Furthermore, as we transition to Third Party program designed programs and offerings we anticipate multiyear offerings or deeper offerings to pursue an approach outlined in HOPPs requiring ex-post evaluation and further delaying savings another year before they are eligible to be claimed. SCE does not anticipate seeing Commercial Sector SEM savings before 2020. Additionally, in the current statewide SEM manual that is being developed for the industrial sector, the EUL is anticipated to be significantly different than the 15 year input for the Commercial sector. While the document is not finalized, SCE encourages an adjustment to better align with programmatic offerings.

Pages 14- 15 and 17-18

BEIMS, page 18.

See embedded PDF attached at the end of these comments.