## Slide 1: Presentation of 2021 Marginal Generation Costs Filed April 29, 2016
San Diego Gas & Electric
May 5th, 2016
TOU OIR Workshop

## Slide 2
2021 Marginal Generation Cost Methodology
Commodity Marginal Costs: Consistent methodology as used in SDG&E’s 2016 GRC Phase 2, but for calendar year 2021 instead of 2016.
  Marginal Energy Costs (“MEC”):
    Forecasted hourly price profile based on net load in the SP-15 market.
    Projected monthly on-peak and off-peak 2021 SP-15 electric market forward market prices.
    The result is a profile of hourly electricity prices for calendar year 2021.
  Marginal Generation Capacity Cost (“MGCC”):
    Based on SDG&E’s 2016 GRC Phase 2 value of roughly $118/kW-year.
  Marginal Generation Capacity Cost Allocation:
    2021 Loss of Load Expectation (“LOLE”) analysis, consistent with the modeling in the 2016 GRC Phase 2.
    The analysis is of SDG&E’s local capacity needs, not statewide capacity needs, and varies from the 2016 LOLE analysis in that:
      Loads reflect 2021 expected conditions net of behind-the-meter solar and
      Retirement of the Encina power plant, addition of the Pio Pico plant, addition of the Carlsbad power plant, and incremental renewable contracts in the San Diego Greater Reliability area scheduled to begin operating after 2016.
    The result is a profile of hourly MGCC costs for calendar year 2021 assigned to the top 100 hours of forecasted need.

## Slide 3
2021 Marginal Energy Cost $/kWh (MEC)
Non-Holiday Weekday:
Weekend or Holiday:

## Slide 4
2021 Marginal Generation Capacity Cost $/kWh (MGCC)
Non-Holiday Weekday:
Weekend or Holiday:

## Slide 5
2021 Total Marginal Generation Cost $/kWh (MGC)
Non-Holiday Weekday:
Weekend or Holiday:

## Slide 6
Key Differences between SCE/PG&E and SDG&E
SCE:
  SCE has higher average MEC
  SCE has higher MGC in 5-6 pm throughout the year with the inclusion of flexible capacity
  SCE has higher MGC Jul-Sep in 5-7 pm and lower in 7-9 pm due to different LOLE hours
PG&E:
  PG&E has lower MGCC
  PG&E has lower MEC in March-May in afternoon hours, especially on weekends
  July and September are switched for MGCC – highest in July for PG&E, highest in September for SDG&E
  PGE has higher prices 12am-8am