## HybridConfAnalysis
This workbook documents how the list of battery storage in the SERVM model was developed. Existing batteries are included in the model. Then achievement of the CPUC storage "mandate" for IOUs is assumed in 2024.
The mix of storage "mandate" batteries is informed by the new batteries reported by the IOUs in their IRPs. Finally, the new batteries proposed by the non-IOU LSEs in their IRPs are added.
|  | CPUC Storage Mandate by 2024 |  |  |  | (split between Bay and Valley assumed to be 0.4/0.6)
|  | IOU | MW | IOU share | Zone | Zone share | Final share | Existing batteries | Remaining | Prorata
|  | PGE | 580 | 0.43774 | PGE_Bay | 0.17509 | 232 | 0 | 232 | 0.19245
[5 empty] | PGE_Valley | 0.26264 | 348 | 2 | 346 | 0.28702
|  | SCE | 580 | 0.43774 | SCE | 0.43774 | 580 | 40 | 540 | 0.44795
|  | SDGE | 165 | 0.12453 | SDGE | 0.12453 | 165 | 77.5 | 87.5 | 0.072584
|  | sum | 1325 | 1 |  | 1 | 1325 | 119.5 | 1205.5 | 1
|  | Type | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Remaining storage mandate | Region
Pacific Gas and Electric | PGE_Bay | Battery_4_hr | 76.9805 | 76.9805 | 153.961 | 153.961 | 232 | 232 | 232 | 232 | 232 | 232 | 232
Pacific Gas and Electric | PGE_Valley | Battery_4_hr | 114.8071 | 114.8071 | 229.6143 | 229.6143 | 346 | 346 | 346 | 346 | 346 | 346 | 346
Southern California Edison | SCE | Battery_4_hr | 179.1788 | 179.1788 | 358.3575 | 358.3575 | 540 | 540 | 540 | 540 | 540 | 540 | 540
San Diego Gas & Electric | SDGE | Battery_4_hr | 29.0336 | 29.0336 | 58.0672 | 58.0672 | 87.5 | 87.5 | 87.5 | 87.5 | 87.5 | 87.5 | 87.5
IOU total |  | Battery_4_hr | 400 | 400 | 800 | 800 | 1205.5 | 1205.5 | 1205.5 | 1205.5 | 1205.5 | 1205.5 | 1205.5
IOU new build assumed to count toward storage mandate (copied from aggregated LSE data)
Pacific Gas and Electric |  | Battery_1_hr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pacific Gas and Electric |  | Battery_4_hr | 0 | 10 | 20 | 130 | 162 | 162 | 162 | 162 | 162 | 162 | 162
Southern California Edison |  | Battery_1_hr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Southern California Edison |  | Battery_4_hr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
San Diego Gas & Electric |  | Battery_1_hr | 60 | 100 | 122 | 144 | 166 | 166 | 166 | 166 | 166 | 166 | 166
San Diego Gas & Electric |  | Battery_4_hr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other LSEs new build
Other LSEs |  | Battery_1_hr | 0 | 4.88 | 4.88 | 4.75 | 11.25 | 11.24 | 11.25 | 11.09 | 11.08 | 11.09 | 11.09
Other LSEs |  | Battery_4_hr | 27 | 228 | 394.45 | 399.45 | 409.55 | 420.55 | 944.55 | 944.55 | 951.55 | 951.55 | 1065
All LSEs |  | Battery_1_hr | 60 | 104.88 | 126.88 | 148.75 | 177.25 | 177.24 | 177.25 | 177.09 | 177.08 | 177.09 | 177.09
All LSEs |  | Battery_4_hr | 27 | 238 | 414.45 | 529.45 | 571.55 | 582.55 | 1106.55 | 1106.55 | 1113.55 | 1113.55 | 1227
Nameplate MW
Name | Region | Type | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
hyb_conf_batt_stor_mand_4hr_pge_bay | PGE_Bay | Battery_4_hr | 76.9805 | 76.9805 | 153.961 | 153.961 | 232 | 232 | 232 | 232 | 232 | 232 | 232
hyb_conf_batt_stor_mand_4hr_pge_valley | PGE_Valley | Battery_4_hr | 114.8071 | 114.8071 | 229.6143 | 229.6143 | 346 | 346 | 346 | 346 | 346 | 346 | 346
hyb_conf_batt_stor_mand_4hr_sce | SCE | Battery_4_hr | 179.1788 | 179.1788 | 358.3575 | 358.3575 | 540 | 540 | 540 | 540 | 540 | 540 | 540
hyb_conf_batt_stor_mand_4hr_sdge | SDGE | Battery_4_hr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
hyb_conf_batt_lse_new_4hr_pge_bay | PGE_Bay | Battery_4_hr | 4.7275 | 39.9215 | 69.066 | 69.9414 | 71.7099 | 73.6359 | 165.3854 | 165.3854 | 166.611 | 166.611 | 186.4755
hyb_conf_batt_lse_new_4hr_pge_valley | PGE_Valley | Battery_4_hr | 7.0913 | 59.8823 | 103.5989 | 104.9122 | 107.5648 | 110.4539 | 248.078 | 248.078 | 249.9165 | 249.9165 | 279.7132
hyb_conf_batt_lse_new_4hr_sce | SCE | Battery_4_hr | 11.8189 | 99.8038 | 172.6649 | 174.8536 | 179.2747 | 184.0898 | 413.4634 | 413.4634 | 416.5275 | 416.5275 | 466.1887
hyb_conf_batt_lse_new_4hr_sdge | SDGE | Battery_4_hr | 3.3623 | 28.3925 | 49.1202 | 49.7428 | 51.0006 | 52.3704 | 117.6232 | 117.6232 | 118.4949 | 118.4949 | 132.6226
hyb_conf_batt_stor_mand_1hr_sdge | SDGE | Battery_1_hr | 60 | 100 | 122 | 144 | 166 | 166 | 166 | 166 | 166 | 166 | 166
hyb_conf_batt_lse_new_1hr_pge_bay | PGE_Bay | Battery_1_hr | 0 | 4.88 | 4.88 | 4.75 | 11.25 | 11.24 | 11.25 | 11.09 | 11.08 | 11.09 | 11.09
| Check totals | Battery_4_hr | 397.9664 | 598.9664 | 1136.3828 | 1141.3828 | 1527.55 | 1538.55 | 2062.55 | 2062.55 | 2069.55 | 2069.55 | 2183
| Check totals | Battery_1_hr | 60 | 104.88 | 126.88 | 148.75 | 177.25 | 177.24 | 177.25 | 177.09 | 177.08 | 177.09 | 177.09 | 2360.09
| Check totals | stor_mand | 430.9664 | 470.9664 | 863.9328 | 885.9328 | 1284 | 1284 | 1284 | 1284 | 1284 | 1284 | 1284
| Check totals | lse_new | 27 | 232.88 | 399.33 | 404.2 | 420.8 | 431.79 | 955.8 | 955.64 | 962.63 | 962.64 | 1076.09 | 2360.09
2360.09

## existing_batt
Unit Name | Unit Type | Unit Category | Year | Variable | Value | Year | Variable | Value | Unit Modifier | Weather Year | Region
CHINO_2_APEBT1 | P | Battery Storage |  | capmax | 20 |  | pndcap | 80 | Base | Base | SCE
ELCAJN_6_EB1BT1 | P | Battery Storage |  | capmax | 7.5 |  | pndcap | 32.3 | Base | Base | SDGE
ESCNDO_6_EB1BT1 | P | Battery Storage |  | capmax | 10 |  | pndcap | 43.2 | Base | Base | SDGE
ESCNDO_6_EB2BT2 | P | Battery Storage |  | capmax | 10 |  | pndcap | 43.2 | Base | Base | SDGE
ESCNDO_6_EB3BT3 | P | Battery Storage |  | capmax | 10 |  | pndcap | 43.2 | Base | Base | SDGE
KIRKER_1_BATTRY | P | Battery Storage |  | capmax | 2 |  | pndcap | 8 | Base | Base | PGE_Valley
MIRLOM_2_MLBBTA | P | Battery Storage |  | capmax | 10 |  | pndcap | 40 | Base | Base | SCE
MIRLOM_2_MLBBTB | P | Battery Storage |  | capmax | 10 |  | pndcap | 40 | Base | Base | SCE
VSTAES_6_VESBT1 | P | Battery Storage |  | capmax | 40 |  | pndcap | 40 | Base | Base | SDGE
119.5